ORDINANCE 69

AN ORDINANCE AUTHORIZING AND PROVIDING FOR SEWAGE AND WASTEWATER TREATMENT

This ordinance establishes minimum standards for and regulation of individual sewage treatment systems (ISTS) within the incorporated areas of the city of Verndale, Minnesota. Incorporating by reference minimum standards and requirements established by Minnesota Statutes and rules of the Minnesota Pollution Control Agency; requiring permits for installation, alteration, repair or extension of ISTS in the city of Verndale; establishing standards for upgrade, repair, replacement, or discontinuance of use of ISTS; imposing penalties for failure to comply with these provisions; providing for enforcement of these requirements; and promoting the health, safety and welfare of the public pursuant to Minnesota Statutes Chapters 115, 145A, 375, 394, and 471, specifically State Statutes 115.55, 145A.05, 375.51, 394.21 through 394.37, and 471.82; and in furtherance of County policy stated in the “Comprehensive Plan Policy” and the County Shore land Zoning Ordinance.

SECTION I

PURPOSE AND INTENT

The purpose of the Sewage and Wastewater treatment Ordinance shall be to provide 	minimum standards for and regulation of individual sewage treatment systems (ISTS) 	and septage disposal including the proper location, design, construction, operation, 	maintenance and repair to protect surface water and ground water from contamination by 	human sewage and waterborne household and commercial waste; to protect the public’s 	health and safety, and eliminate or prevent the development of public nuisances pursuant 	to the authority granted under Minnesota Statutes Chapters 115 and 145A and Minnesota 	Rules Chapter 7080 as amended that may pertain to sewage and wastewater treatment.

SECTION II

GENERAL PROVISIONS

A.	STANDARDS ADOPTED BY REFERENCE.  The county hereby adopts, by this 		reference, Minnesota Rules Parts 7080,0010 to 7080,0315 (and 7080.0910) as 		now constituted and from time to time amended.

B.	PERMITS. No person shall install, alter, repair or extend any individual sewage 		treatment system in the City of Verndale without first applying for and obtaining 		a permit from the Zoning administrator and at the same time paying a fee as listed 		in the fee schedule of the Zoning Ordinance. Such permit shall be valid for a 		period of twelve months from the date of issuance.

C.	LICENSE REQUIREMENTS. No person shall engage in the evaluation, 			inspection, design, installation, construction, alteration, extension, repair, 			maintenance or pumping of on-site individual sewage treatment systems without 		first obtaining a license to perform such tasks from the Minnesota Pollution 		Control Agency, except as provided under part 7080,0700, subpart 1.

D.	FAILING SEPTIC SYSTEMS.  A Notice of Noncompliance shall be issued and 		copies provided to the property owner and to the County within 30 days under the 		following conditions;

1. 	A failing ISTS shall be upgraded, replaced or its use discontinued within 			one year.  The Department will give consideration to weather conditions 			as it establishes compliance dates.

2.	An ISTS posing an imminent threat to public health or safety shall be 			upgraded, replaced or repaired, or its use discontinued, within an 			appropriate time no greater than 10 months.

E.	ADDITIONAL SOIL TREATMENT AREA REQUIREMENTS.  On all lots 		created after January 23, 1996, the system design shall include at least one 		designated additional soil treatment area which can support a standard soil 		treatment system.

SECTION III

ENFORCEMENT

A.	Any person who violates any of the provisions of this Ordinance or who makes 		any false statement on a Certificate of Compliance, shall be guilty of a 			misdemeanor, punishable by imprisonment or a fine or both as defined by law.

B.	 In the event of a violation of this Ordinance, in addition to other remedies, the 		County Attorney many institute appropriate actions or proceedings to prevent, 		restrain, correct or abate such violations.

All ordinances or parts of ordinances of the City of Verndale, Minnesota, inconsistent herewith are hereby repealed.

This Ordinance takes effect after publication.

Passed by the City Council this 2nd day of February, 1998

Dale Paulsen

Mayor

Michelle Branstner

Clerk